## Object Model
Cancer Care Ontario
Medical Physics Community of Practice Managing Equipment Downtime Working Group
Managing Equipment Downtime Working Group - Data Taxonomy, Version 1, Updated 07/03/2014
Linac
Service Event
Scheduled
Unscheduled
Component Replacement
Site

## Data Taxonomy
Cancer Care Ontario
Medical Physics Community of Practice Managing Equipment Downtime Working Group
Managing Equipment Downtime Working Group - Data Taxonomy, Version 1, Updated 07/03/2014
Object | Attribute | Optional / Mandatory | Definition Notes | Form | Form Options | Rules
Linac | Manufacturer | M |  | Drop Down |  | Not editable
| Model | M |  | Drop Down |  | Not editable
| Serial Number | M |  | Free Text |  | Not editable
| MLC Model | M |  | Drop Down
| Tmt. Modalities | M |  | Mult-selection | TSET | Date required each time this object changes; separate object; on start-up, prompt user to ask if Linac config has changed
[5 empty] | 2D | Clinically used modalities
Robotic
SRS
FFF
SBRT
VMAT
3DCT
SNS IMRT, Static Gantry
Sliding Window IMRT, Static Gantry
| Image Modalities | M |  | Mult-selection | KV CBCT | Date required each time this object changes; separate object; on start-up, prompt user to ask if Linac config has changed
[5 empty] | 2DKV | Clinically used modalities
MV
MVCT
| Service Contract | M |  | Drop Down | Full | Date required each time this object changes; separate object; on start-up, prompt user to ask if Linac config has changed
[5 empty] | Cooperative | Differentiate 'Cooperative' and 'Partial' in definitions
[5 empty] | Partial | Differentiate 'Cooperative' and 'Partial' in definitions
None
| Date of Acceptance | M | Clinical Release |  |  | Not editable
| Geographic Location | O |  | Free Text |  | Not editable
| Name | O
| Available Clinical Hours Per Day | M
Service Event | Date / Time Stamp | M |  | YY-MM-DD, hh:mm
| Type | M |  | Radial Button | Scheduled, Preventative Action | Only single selection option available for for 'Scheduled' options
Scheduled, Preventative Maintennance
Scheduled, Field Correction Notice
Scheduled, Beam Tuning
[5 empty] | Scheduled, Physics QA | Capture if there is downtime associated with the service event
Scheduled, Calibration
[5 empty] | Scheduled, Other | Must have free text comment (?)
|  |  | remove a cover OR greater than 30 minute clinically unavailable OR one or more patiences affected (CNSC definition: intervention outside of User Manual) |  | Unscheduled
| InHouse Serviceperson Hours | M |  |  |  | To the nearest quarter-hour
| InHouse Serviceperson Overtime Hours | M
| Contract Serviceperson Hours | M |  |  |  | ONLY ask this question if the linac configuration shows that this linac has a service contract
| Return to Service Testing Hours | M |  |  |  | To the nearest quarter-hour
| Clinical Downtime Hours | M
| Therapy overtime hours | M
| Number of Affected Patient Fractions | M | Number of cancelled fractions
| Available Clinical Hours Per Day | M |  |  |  | use linac config value as default
| Event Types | M |  | Drop Down |  | List depends on un/scheduled type
| Description | O |  | Free Text
| Cumulative HV Hours | M
| Filament Hours | M
Component Replacement | Sub-system | M |  | Drop Down | RF (Including Modulator)
Dosimetry
Table
Mechanical (Including MLC)
Imaging
| Component | M |  | Drop Down | list TBD
| Part Number | M |  | Free Text |  | uniquely identifies component, we may need a dropdown list here as part numbers may change over time
| Component Description | O |  | Free Text
| Serial Number | O |  | Free Text
| Rev | O |  | Free Text
| X-Ray Tube HV Hours | O |  |  |  | ONLY if an X-ray tube involved
| Filament Hours / mAs / HV (?) | <<Missing>> |  |  |  | ONLY if an X-ray tube involved
| Part Cost | M |  | $NN NNN.NN
| Manufacturer | M |  | Drop Down | OEM
Third Party
Legend
O: Optional
M: Mandatory
Objects / Attributes
Form Options
Red
Blue
Definition Notes
Rules
Green
White

## GUI Mock Up
NOTES:
a new form will pop up for each component replaced
Linac configuration will have a separate form and should be secure (admin)
Choose Linac:
Event Date / Time:
Event Type:
Service Hours (nearest 15min):
Return to Service Hours (nearest 15min):
Clinical Downtime Hours (nearest 15min):
Number of Patients Affected:
Description:
Number of Components Replaced :
Service Event
<<Drop Down >>
<< Free Text >>
Scheduled Event
Unscheduled Event
Okay / Save
Type of scheduled event (drop down)
yy:mmm: dd hh:mm